## Sheet1
Sr. No | Area of applications/applinses | Power (W) | Qty | Power (Kw)
Typical Flat
1 | LED/CFL Bulb | 40 | 8 | 0.32
2 | Fans | 80 | 3 | 0.24
3 | TV | 120 | 1 | 0.12
4 | 16/6 A | 3000 | 1 | 3
| Total power for 1 flat |  |  | 3.68
Common Area
5 | Passage Lighting | 40 | 100 | 4
6 | Street Light | 100 | 20 | 2
7 | Staircase Lighting | 60 | 20 | 1.2
8 | Passenger Lifts | 400 | 2 | 0.8
9 | Water Pumps | 3000 | 2 | 6
14
| Total Power Demand for Building |  |  | 17.68
| Buffer/ Average |  |  | 18 Kw